The U.S. Consulate in Ciudad Juarez Chihuahua, Mexico is requesting quotes for **Carpet Tile Replacement** as per product specifications below. Please send all quotes in Excel format no later than February 10th, 2023 at 4:00 pm (mountain time) to this email address [CalvilloMA@state.gov](mailto:CalvilloMA@state.gov). No quotes will be considered after this date and time. For ALL vendors it is required that you have a current DUNS number and that you are registered in SAMs, no quotes will be considered without meeting this criterion. Mexican vendors must quote in pesos unless they have a U.S. Dollar bank account in Mexico. DUNS number on quote is mandatory. NDAA 889 Compliance Policy document is mandatory for all vendors, please include the document with your quote.

**Carpet Tile Replacement**

**Scope of Work**

**SUMMARY**

U.S. Consulate Ciudad Juarez requests quotes for the replacement of their carpet tile, 670 square yards. Services to be performed include removing old carpet and laying new tile. In addition to this, the service provider shall provide the new carpet materials. Services and materials should be performed/procured in accordance with the below specifications:

**DESCRIPTION**

The bidder will remove the current carpet installed on the compound. Existing carpet on compound is in the amount of 670 sq. yards. Work will be completed during non-working hours (after 5:00pm or weekends) and the bid should include precautions for keeping the areas clean and tidy. Removal of the carpet will need to be manual. The bidder is responsible for the correct disposal of the existing carpet and will coordinate schedule with the Facility Manager.

The bidder will then preparate the floor for the new carpet; floor should be smooth to avoid bumps in the new surface due to left over debris from removal and prepped according to manufacturer specifications.

The bidder will then install new carpet in accordance with manufacturer recommended methods. Areas of installation have office cubicles in a percentage of approximately 40% of the total area. Is responsibility of the contractor to move, rise, assembly/disassembly any cubicle to have a uniform carpet installation.

Please note that installation will likely occur in phases and the bidder should take into consideration this aspect of the job in the bid due to the work being done during non-working hours, we will have to coordinate.

New Carpet shall be **Interface**. Key aspects of this carpet must be met including the following:

* Color Stone 101465, 50x50cm, Monolithic, Style: 1385602500 or similar authorized by Consulate Project Manager.
* Adhesive shall meet manufacturer recommendation.

The bidder shall provide all tools, protective equipment, and materials to complete the job in a clean and timely fashion.



