The U.S. Consulate in Ciudad Juarez Chihuahua, Mexico is requesting quotes for **Water Distillers and Supplies** as per product specifications below. Please send your quotes no later than February 15th, 2023 at 4:00 pm (mountain time) to this email address CalvilloMA@state.gov. Indicate the lead time at the quote. No quotes will be considered after this date and time. For ALL vendors it is required that you have a current DUNS number and that you are registered in SAMs, no quotes will be considered without meeting this criterion. Mexican vendors must quote in pesos unless they have a U.S. Dollar bank account in Mexico. DUNS number on quote is mandatory. NDAA 889 Compliance Policy document is mandatory for all vendors, please include the document with your quote.

***Water Distillers:***

Quantity: 82 pcs.

Brand: Durastill Water Systems Or Similar

Model: 3040

* Produce 30 liters every 24 hours
* Proven Design with FLOAT CONTOL feature
* Connects to water line for continuous Automatic Operation
* Automatic high level control
* 316 Alloy stainless steel evaporator
* Incoloy (stainless steel) heating element – 1000 watt
* Plug into 115 volt outlet
* Include everything for a normal installation. (Installation kit, pre-filter, port-filter, post-filter and fittings).

**Specifications:**

**Water Distiller:**

* Height: 13 inches
* Width: 20 inches
* Depth: 13 inches

**Storage Tank:**

* Height: 29 inches
* Width: 20 inches
* Depth: 13 inches

Overall (water distiller plus storage tank):

* Height: 39 inches

***Cleaning products:***

* + 3 pcs Still Clean 8 Lb. Durastill 400-120
	+ 3 pcs Still Pro 8 Lb. Durastill 400-403
	+ 3 pcs Still Sweet 8 Lb. Durastill 400-118

**Your quote should include shipping costs, if any, to**:

The Inland Sea / U.S. Consulate

9601 Carnegie Ave.

El Paso, Tx.

79925

Or

U.S. Consulate General
Paseo de la Victoria #3650
Fracc. Partido Senecú
Ciudad Juárez, Chihuahua, Mexico C.P. 32543