## Technical Specs_22Q0172
TECHNICAL SPECIFICATIONS
19RP3822Q0172 - Supply and Delivery of Pumps and Accessories
Instructions to offerors: Do not/not edit or revise the description or quantity columns. Only fill out applicable fields related to your offer. | [5 empty] | NOTE: Submit photo and specifications of each proposed item/s
No. | Description | Qty | Unit | Unit Price (indicate currency used) | Amount (Qty x Unit Price) (indicate currency used) | Offer/Remarks
1 | Non-Clog Submersible Pump, 3" NPT Discharge, 1 HP, 6Hz, 3 Phase, 480 VAC, 3500RPM, 2" Max Solids, 3.75" Impeller, Cast Iron, 3WD Series, 30 ft. Cord Length, 400 S/S Shaft Seal, Goulds (3WD51E4ADFH), or approved equal | 1 | set |  | 0
2 | Non-Clog Submersible Pump, 3" NPT Discharge, 1 HP, 6Hz, 3 Phase, 480 VAC, 3500RPM, 2" Max Solids, 3.75" Impeller, Cast Iron, 3WD Series, 50 ft. Cord Length, 400 S/S Shaft Seal, Goulds (3WD51E4AFFH), or approved equal | 2 | set |  | 0
3 | Submersible Sewage Pump, Dual Seal with Sensor probe, 3", 3HP, 1750RPM, 480 Volts, 60Hz, 3 Phase, 7.25" Impeller size, 470GPM, 65ft. Head, 3" 125# ANSI Flange Discharge, 30ft. Cord length, 2.5" Solids Handling, Goulds 3SD Series (3SD52H4BDFH), or approved equal | 2 | set |  | 0
4 | Guide Rail, complete with Base, Adapter, bolts and fittings and upper guiderail positioning bracket, Material: Cast Iron, Pump Discharge: 3" Flange, Goulds Centripro A10-30, or approved equal | 2 | set |  | 0
5 | Guide Rail, 3” x 3”, 3.0 Vertical Base Elbow Rail System Kit, Goulds CentriPro Guide Rail CBE3030, or approved equal Complete with the following: 1 – Ductile Iron Base Elbow (3” Female NPT Discharge) 1 – Ductile Iron Pull-out Flange (3” – 125# - ANSI Flan 1 – SS Pump Adapter Flange and Mounting Hardware (3” Male NPT Inlet) 1 – SS Lower Guide Plate Bracket and Mounting Hardware (attached) 2 – BUNA-N O-rings 1 – SS Upper Guide Rail Brackets (UGB-STNLS) 1 – SS 3/16” Lifting Chain (7’) 1 – SS 3/16” Lifting Chain (3’) 3 – SS ¼” SPA Shackles 1 – SS ¼” Quick Link 1 – SS 3/8” Lifting eyebolt | 2 | set |  | 0
6 | Grinder Pump, 2HP, 480 Volts, 3Phase, 60Hz, Liberty (LSG204M), or approved equal Base Material: Cast Iron Impeller Material: Stainless Steel Discharge NPT 1.25" Flow Rate @ 20ft. Of Head: 50 gpm Cord Length: 25ft. | 3 | set |  | 0
7 | Guide Rail Base for LSG Grinder Pumps, Liberty (GR20), or appoved equal | 1 | set |  | 0
8 | Pump Control Panel 480V AC, 6.3 to 10A, 2 pumps controlled, 3Ph, Hoffman (VS-3480V0610D), or approved equal | 2 | set |  | 0
9 | Pump Control Panel 480V AC, 4 to 6.3A, 2 pumps Controlled, 3Ph, Hoffman (VS-3480V0406D), or approved equal | 2 | set |  | 0
TOTAL (indicate currency of offer) |  |  |  |  | 0
SHIPPING/DELIVERY LEADTIME:
A. Kent, WA (For Offshore Vendors)
A | Shipping Cost to Kent, WA Delivery Address: Lincoln Moving & Storage 19018 62nd Ave S Kent, WA 98032 *Vendor to ship complete orders or consolidate items into one order before shipping to Kent, WA. Kindly refer to 14 FAM 312.2.b(4). * Please mark the items which are considered as/containing hazardous material (to be shipped at Kent, WA address). |  | 1 | lot
| Delivery Leadtime to Kent, WA |  | (indicate no. of days/weeks ARO)
| Shipping Weight |  | (indicate in lbs/kgs)
TOTAL COST (ITEM + SHIPPING TO KENT, WA)
B. Delivery to U.S. Embassy Manila (For Local Vendors)
B | Shipping Cost to U.S. Embassy Manila Delivery Address: GSO/RECEIVING WAREHOUSE AMERICAN EMBASSY MANILA Seafront Compound Roxas Boulevard, Pasay City 1300 |  | 1 | lot
| Delivery Leadtime to U.S. Embassy Manila |  | (indicate no. of days/weeks ARO)
TOTAL COST (ITEM + DELIVERY TO US. EMBASSY MANILA)